## 检定
量块检定原始记录
证书编号： |  | <%=_data_.certCode%> |  |  | 依据技术文件：
送检单位 |  | <%=_data_.certCode%>
检定地点 |  | <%=_data_.place%> | [7 empty] | 环境条件 |  | 温度 |  | ℃ | 相对湿度 |  |  |  | % | 其他 |  | /
计量器具名称 | [9 empty] | 型号规格 |  | <%=_data_.typeRule%> |  |  |  |  | 出厂编号 |  | <%=_data_.fantoryCode%>
制造厂商 |  | <%=_data_.makeUnit%>
不确定度/准确度等级/最大允许误差
计量标准名称 |  |  | 测量范围 |  |  |  | 不确定度/准确度等级/最大允许误差 | [8 empty] | 计量标准证书编号 |  |  |  |  | 有效期至
标准器名称 |  |  | 型号规格 |  | 出厂编号 |  | 测量范围 |  |  |  | 不确定度/准确度等级/最大允许误差 |  |  |  |  | 证书编号 |  |  |  |  | 有效期至
${equi.name} |  |  | ${equi.typeSpec} |  | ${equi.unitCode} |  | ${equi.measurementRange} |  |  |  | ${equi.accuracy} |  |  |  |  | ${equi.certificateNumber} |  |  |  |  | ${equi.expiryDateView}
检定数据/结果
量块名义尺寸（mm） | 研合性/外观 |  |  | 温度（℃） |  | 标准修正量（µm） |  | 测量读数（µm） | [7 empty] | 长度变动量 （µm） |  | 中心长度偏差（µm） |  | 级 |  |  | 等
| 上工 作面 |  | 下工作面 |  |  |  |  | 中心 | a |  | b | c | d
1 | <%=_data_.tableData[0].upface%> |  | <%=_data_.tableData[0].downface%> |  |  | <%=_data_.tableData[0].fix%>
1.001 | <%=_data_.tableData[1].upface%> |  | <%=_data_.tableData[1].downface%> |  |  | <%=_data_.tableData[1].fix%>
1.002 | <%=_data_.tableData[2].upface%> |  | <%=_data_.tableData[2].downface%> |  |  | <%=_data_.tableData[2].fix%>
1.003 | <%=_data_.tableData[3].upface%> |  | <%=_data_.tableData[3].downface%> |  |  | <%=_data_.tableData[3].fix%>
1.004 | <%=_data_.tableData[4].upface%> |  | <%=_data_.tableData[4].downface%> |  |  | <%=_data_.tableData[4].fix%>
1.005
1.006
1.007
1.008
1.009
1.01
1.02
1.03
1.04
1.05
1.06
1.07
1.08
1.09
1.1
1.2
1.3
1.4
1.5
1.6
1.7
1.8
1.9
2
3
4
5
6
7
8
9
10
20
30
40
50
60
70
80
90
100
检定结论
检定员： |  |  |  |  | 核验员： |  |  |  |  | 检定日期： |  |  |  |  | 有效期至：
备注：符号说明：划痕—h，划伤—p，锈蚀—x，合格—√，不合格—×，修后合格—O
Note on A1: jx:area(lastCell="AP63")
Note on E2: ${taskAssign.sample.certCode}
Note on Q2: ${taskAssign.standardLibrary}
Note on E3: ${taskAssign.taskOrder.certUnit}
Note on E4: ${taskAssign.testingAddress}
Note on AA4: ${taskAssign.envirTemperature}
Note on AH4: ${taskAssign.envirHumidity}
Note on AM4: ${taskAssign.otherInfo}
Note on E5: ${taskAssign.sample.sampleName}
Note on Y5: ${taskAssign.sample.typeRule}
Note on AJ5: ${taskAssign.sample.fantoryCode}
Note on E6: ${taskAssign.sample.makeUnit}
Note on M7: ${taskAssign.sample.accuracy}
Note on A9: ${taskAssign.standardMetering.name}
Note on G9: ${taskAssign.standardMetering.measurementRange}
Note on O9: ${taskAssign.standardMetering.uncertainty}
Note on AE9: ${taskAssign.standardMetering.certificateNumber}
Note on AL9: ${taskAssign.standardMetering.endTime}
Note on A11: jx:each(items="equipment" var="equi" lastCell="AP11")
Note on AH15: ${result.pc1}
Note on AH16: ${result.pc2}
Note on AH17: ${result.pc3}
Note on AH18: ${result.pc4}
Note on AH19: ${result.pc5}
Note on AH20: ${result.pc6}
Note on AH21: ${result.pc7}
Note on AH22: ${result.pc8}
Note on AH23: ${result.pc9}
Note on AH24: ${result.pc10}
Note on AH25: ${result.pc11}
Note on AH26: ${result.pc12}
Note on AH27: ${result.pc13}
Note on AH28: ${result.pc14}
Note on AH29: ${result.pc15}
Note on AH30: ${result.pc16}
Note on AH31: ${result.pc17}
Note on AH32: ${result.pc18}
Note on AH33: ${result.pc19}
Note on AH34: ${result.pc20}
Note on AH35: ${result.pc21}
Note on AH36: ${result.pc22}
Note on AH37: ${result.pc23}
Note on AH38: ${result.pc24}
Note on AH39: ${result.pc25}
Note on AH40: ${result.pc26}
Note on AH41: ${result.pc27}
Note on AH42: ${result.pc28}
Note on AH43: ${result.pc29}
Note on AH44: ${result.pc30}
Note on AH45: ${result.pc31}
Note on AH46: ${result.pc32}
Note on AH47: ${result.pc33}
Note on AH48: ${result.pc34}
Note on AH49: ${result.pc35}
Note on AH50: ${result.pc36}
Note on AH51: ${result.pc37}
Note on AH52: ${result.pc38}
Note on AH53: ${result.pc39}
Note on AH54: ${result.pc40}
Note on AH55: ${result.pc41}
Note on AH56: ${result.pc42}
Note on AH57: ${result.pc43}
Note on AH58: ${result.pc44}
Note on AH59: ${result.pc45}
Note on AH60: ${result.pc46}
Note on L61: ${taskAssign.sample.conclusion}
Note on E62: ${taskAssign.createRecordsUser}
Note on O62: ${taskAssign.auditUser}
Note on X62: ${taskAssign.createRecordsData}
Note on AH62: ${taskAssign.suggestCalibrationDate}